CORRECT USE OF A METERED-DOSE INHALER

Finding out how much Medicine is in the Canister

- It is important to make sure that the canister holds enough medicine.

- If the canister has been used often, it might be empty.  (Check the label to see how many inhalations should be in each canister.)

- To find out how much medicine is left in the canister, put the canister (without the mouthpiece) in a container of water.  If the canister sinks to the bottom, it is full.  If the canister floats sideways on the surface, it is empty.

Using the Inhaler

- Remove the cap and hold the inhaler upright.

- Shake the inhaler

- Tilt your head back slightly and breathe out

- Hold the inhaler between your thumb and pointer finger.

- Press down on the inhaler to release the medicine as you start to breathe in slowly.

- Breathe in slowly for three to five seconds.

- Hold your breath for 10 seconds to allow medicine to go deeply into your lungs.

- Repeat puffs as directed.  Wait one minute between puffs to allow the second puff to get into the lungs better.

NOTE:  Inhaled dry powder capsules are used differently.  To use a dry powder inhaler, close your mouth tightly around the mouthpiece of the inhaler and breathe in quickly.

This information provides a general overview on the use of metered-dose inhalers and may not apply in each individual case.  Consult your physician to determine whether this information can be applied to your personal situation and to obtain additional information.